## README
PI | Bruce Anderson
DATA_DESCRIPTION | ACCRI Chamber Testing Conditions and Measurements
MEASUREMENT_DATE | 20100528
MODIFIED_DATE | 20160719
PI_CONTACT_INFO | bruce.e.anderson@nasa.gov
PLATFORM | Ground-Chamber
LOCATION | Cleveland, OH
ASSOCIATED_DATA | N/A
INSTRUMENT_INFO | Please contact the PI for more information about the instruments
DATA_INFO | Measurements are reported in Standard Conditions (1013 mb, 0 Deg C)
UNCERTAINTY | Please contact the PI for more information about the measurement uncertainty
MISSING_FLAG | -999999
ULOD_FLAG | -777777
ULOD_VALUE | N/A
LLOD_FLAG | -888888
LLOD_VALUE | N/A
DATA_MANAGER | Lee Thornhill
DM_CONTACT_INFO | Kenneth.L.Thornhill@nasa.gov
PROJECT_INFO | ACCRI 1- Aviation Climate Change Research Initiative 2010
STIPULATIONS_ON_USE | Please contact the PI prior to use
OTHER_COMMENTS | N/A
REVISION | R01
R00 | Preliminary data formatted for the archive
R01 | Added README Tab
Variables | Units | Description
Time_local | HH:MM:SS | Local Time in Military format
Time_sec | Seconds since midnight EST | N/A
Time_UTC | Seconds Since Midnight UTC | N/A
Test_Point | N/A | Test Point during sample
Altitude_notes | ft | Altitude Chamber Setting
Soot_notes | N/A | Soot Generator On/Off. Cast Burner Setting
Soot_Concen_Est | #/cm3 | Soot concentration Cast Burner Setting
Soot_Diameter_Est | nm | Soot Diameter Cast Burner Setting
Sulf_Acid_ppmv | ppmv | Sulfuric Acid Cast Burner Setting
Nafion_Flow_Notes | N/A | Setting of RH supply
RH_due_to_Nafion_Flow | Percent | Relative Humidity due to Nafion Flow
RH_due_to_Syr_Pump | Percent | RH due to Syr pump
RH_Total | Percent | Total Relative Humidity
Slider_Position | N/A | Slider position during sample
Chamber_pressure | Torr | Chamber Pressure (Measured)
CO2_addition_flowrate | ml/min | Additional CO2 flowrate setting
Pressure_exhaustManifold | Torr | Pressure of input Manifold (Measured)
FlowRate_exhaustManifold | L/min | FlowRate of input Manifold (Measured)
FlowRate_NafHumidifier | L/min | Naf Humidifier Input Flowrate (Measured)
OPC_low_stpN_bin0 | #/cm3 | Optical Particle Counter Lower Position Reading with center at 0.3 um
OPC_low_stpN_bin1 | #/cm3 | Optical Particle Counter Lower Position Reading with center at 0.45 um
OPC_low_stpN_bin2 | #/cm3 | Optical Particle Counter Lower Position Reading with center at 0.75 um
OPC_low_stpN_bin3 | #/cm3 | Optical Particle Counter Lower Position Reading with center at 1.05 um
OPC_low_stpN_bin4 | #/cm3 | Optical Particle Counter Lower Position Reading with center at 1.35 um
OPC_low_stpN_bin5 | #/cm3 | Optical Particle Counter Lower Position Reading with center at 1.65 um
OPC_low_stpN_bin6 | #/cm3 | Optical Particle Counter Lower Position Reading with center at 1.95 um
OPC_low_stpN_bin7 | #/cm3 | Optical Particle Counter Lower Position Reading with center at 2.4 um
OPC_low_stpN_total | #/cm3 | Total Optical Particle Counter Lower Position Reading
OPC_low_stpN_sub | #/cm3 | Optical Particle Counter Lower Position Reading for first 3 bins
OPC_low_stpN_super | #/cm3 | Optical Particle Counter Lower Position Reading last 5 bins
OPC_hi_stpN_bin0 | #/cm3 | Optical Particle Counter Higher Position Reading with center at 0.3 um
OPC_hi_stpN_bin1 | #/cm3 | Optical Particle Counter Higher Position Reading with center at 0.45 um
OPC_hi_stpN_bin2 | #/cm3 | Optical Particle Counter Higher Position Reading with center at 0.75 um
OPC_hi_stpN_bin3 | #/cm3 | Optical Particle Counter Higher Position Reading with center at 1.05 um
OPC_hi_stpN_bin4 | #/cm3 | Optical Particle Counter Higher Position Reading with center at 1.35 um
OPC_hi_stpN_bin5 | #/cm3 | Optical Particle Counter Higher Position Reading with center at 1.65 um
OPC_hi_stpN_bin6 | #/cm3 | Optical Particle Counter Higher Position Reading with center at 1.95 um
OPC_hi_stpN_bin7 | #/cm3 | Optical Particle Counter Higher Position Reading with center at 2.4 um
OPC_hi_stpN_total | #/cm3 | Total Optical Particle Counter Higher Position Reading
OPC_hi_stpN_sub | #/cm3 | Optical Particle Counter Higher Position Reading for first 3 bins
OPC_hi_stpN_super | #/cm3 | Optical Particle Counter Higher Position Reading last 5 bins
EEPS_Bin1 | #/cm3 | EEPS Measurement with center at 6.04 nm (dNdlogDp)
EEPS_Bin2 | #/cm3 | EEPS Measurement with center at 6.98 nm (dNdlogDp)
EEPS_Bin3 | #/cm3 | EEPS Measurement with center at 8.06 nm (dNdlogDp)
EEPS_Bin4 | #/cm3 | EEPS Measurement with center at 9.31 nm (dNdlogDp)
EEPS_Bin5 | #/cm3 | EEPS Measurement with center at 10.8 nm (dNdlogDp)
EEPS_Bin6 | #/cm3 | EEPS Measurement with center at 12.4 nm (dNdlogDp)
EEPS_Bin7 | #/cm3 | EEPS Measurement with center at 14.3 nm (dNdlogDp)
EEPS_Bin8 | #/cm3 | EEPS Measurement with center at 16.5 nm (dNdlogDp)
EEPS_Bin9 | #/cm3 | EEPS Measurement with center at 19.1 nm (dNdlogDp)
EEPS_Bin10 | #/cm3 | EEPS Measurement with center at 22.1 nm (dNdlogDp)
EEPS_Bin11 | #/cm3 | EEPS Measurement with center at 25.5 nm (dNdlogDp)
EEPS_Bin12 | #/cm3 | EEPS Measurement with center at 29.4 nm (dNdlogDp)
EEPS_Bin13 | #/cm3 | EEPS Measurement with center at 34 nm (dNdlogDp)
EEPS_Bin14 | #/cm3 | EEPS Measurement with center at 39.2 nm (dNdlogDp)
EEPS_Bin15 | #/cm3 | EEPS Measurement with center at 45.3 nm (dNdlogDp)
EEPS_Bin16 | #/cm3 | EEPS Measurement with center at 52.3 nm (dNdlogDp)
EEPS_Bin17 | #/cm3 | EEPS Measurement with center at 60.4 nm (dNdlogDp)
EEPS_Bin18 | #/cm3 | EEPS Measurement with center at 69.8 nm (dNdlogDp)
EEPS_Bin19 | #/cm3 | EEPS Measurement with center at 80.6 nm (dNdlogDp)
EEPS_Bin20 | #/cm3 | EEPS Measurement with center at 93.1 nm (dNdlogDp)
EEPS_Bin21 | #/cm3 | EEPS Measurement with center at 107.5 nm (dNdlogDp)
EEPS_Bin22 | #/cm3 | EEPS Measurement with center at 124.1 nm (dNdlogDp)
EEPS_Bin23 | #/cm3 | EEPS Measurement with center at 143.3 nm (dNdlogDp)
EEPS_Bin24 | #/cm3 | EEPS Measurement with center at 165.5 nm (dNdlogDp)
EEPS_Bin25 | #/cm3 | EEPS Measurement with center at 191.1 nm (dNdlogDp)
EEPS_Bin26 | #/cm3 | EEPS Measurement with center at 220.7 nm (dNdlogDp)
EEPS_Bin27 | #/cm3 | EEPS Measurement with center at 254.8 nm (dNdlogDp)
EEPS_Bin28 | #/cm3 | EEPS Measurement with center at 294.3 nm (dNdlogDp)
EEPS_Bin29 | #/cm3 | EEPS Measurement with center at 339.8 nm (dNdlogDp)
EEPS_Bin30 | #/cm3 | EEPS Measurement with center at 392.4 nm (dNdlogDp)
EEPS_Bin31 | #/cm3 | EEPS Measurement with center at 453.2 nm (dNdlogDp)
EEPS_Bin32 | #/cm3 | EEPS Measurement with center at 523.3 nm (dNdlogDp)
nEEPS | #/cm3 | Total EEPS Number Measurement
vEEPS | nm3/cm3 | EEPS Volume Measurement
EEPS_GMD | nm | Geometric Mean Diameter
EEPS_GSD | nm | Geometric Mean Diameter Standard Deviation
cpc3775_manifold_#/cm3 | #/cm3 | Number Concentration of Aerosol Particles before reduced pressure
cpc3772_cold_#/cm3 | #/cm3 | Number Concentration of Aerosol Particles at Sample Location
MAAP_CBC_2 | ng/m3 | Averaged Black Carbon Concentration (Method 2)
MAAP_CBC_1 | ng/m3 | Averaged Black Carbon Concentration (Method 1)
MAAP_CBC_0 | ng/m3 | Unaveraged Black Carbon Concentration